## CSO EDM
SITE_ID | Data start | Data Quality | SCOPE SERVER | SCOPE E -NUMBER | Units | Notes from EDM Issues Log | Spill Level (mm) | Spill level (%) | Data Transmission Frequency
14002 | 2019-01-01 | Good | WASTE | E23593 | mm |  | 13200 (unverified) |  | 5-15 mins
14624 | 2018-06-01 | Poor | WASTE | E20321 | mm |  | 2125 (unverified) |  | 24 hrs or in alarm
16011 | 2018-11-01 | Good | WASTE2 | E5184 | mm |  | 120 |  | 24 hrs or in alarm
16013 | 2018-08-01 | Good | WASTE2 | E5256 | mm |  | 495 |  | 24 hrs or in alarm
16014 | 2018-06-01 | Good | WASTE2 | E1586 | mm |  | 160 |  | 24 hrs or in alarm
16016 | 2018-10-01 | Good | WASTE2 | E5175 | mm |  | 430 |  | 24 hrs or in alarm
16017 | 2018-06-01 | Poor | WASTE2 | E5165 | mm |  | 1060 |  | 24 hrs or in alarm
16018 | 2018-06-01 | Good | WASTE2 | E1146 | mm |  | 705 |  | 24 hrs or in alarm
16019 | 2018-06-01 | Good | WASTE2 | E5186 | mm |  | 182 |  | 24 hrs or in alarm
16035 | 2018-08-01 | Good | WASTE2 | E5188 | mm |  | 1220 |  | 24 hrs or in alarm
16040 | 2018-06-01 | Good | WASTE | E23571 | mm |  | 1280 (unverified) |  | 24 hrs or in alarm
16042 | 2018-06-01 | Good | WASTE | E26824 | % |  | n/a | TBC | 24 hrs or in alarm
16043 | 2018-06-01 | Good | WASTE2 | E5061 | mm |  | 800 |  | 24 hrs or in alarm
16045 | 2018-06-01 | Good | WASTE | E23485 | mm |  | 928 |  | 24 hrs or in alarm
16046 | 2018-10-01 | Good | WASTE2 | E5166 | mm |  | 688 |  | 24 hrs or in alarm
16048 | 2018-06-01 | Good | WASTE2 | E5132 | mm | Installation error with scaling. To be fixed on 26th Sept 19. | 530 |  | 24 hrs or in alarm
16049 | 2018-06-01 | Good | WASTE2 | E5062 | mm | Installation error with scaling. To be fixed on 6th Oct 19. | 114 |  | 24 hrs or in alarm
16050 | 2019-03-01 | Good | WASTE | E23549 | mm |  | 445 |  | 24 hrs or in alarm
16052 | 2018-06-01 | Poor | WASTE | E28585 | mm |  | 846 |  | 24 hrs or in alarm
16053 | 2018-06-01 | Good | WASTE2 | E5119 | mm |  | 1560 |  | 24 hrs or in alarm
16057 | 2018-06-01 | Good | WASTE | E23515 | % |  | n/a | 43 | 24 hrs or in alarm
16058 | 2018-10-01 | Good | WASTE2 | E5178 | mm |  | 930 |  | 24 hrs or in alarm
16059 | 2018-06-01 | Good | WASTE2 | E1156 | mm |  | 1055 |  | 24 hrs or in alarm
16061 | 2018-06-01 | Good | WASTE2 | E5133 | mm |  | 500 |  | 24 hrs or in alarm
16064 | 2018-06-01 | Good | WASTE2 | E5063 | mm | Installation error with scaling. Fixed on 11th July 19. | 660 |  | 24 hrs or in alarm
16067 | 2018-06-01 | Good | WASTE2 | E5085 | mm |  | 580 |  | 24 hrs or in alarm
16068 | 2018-06-01 | Good | WASTE2 | E5064 | mm |  | 440 |  | 24 hrs or in alarm
16069 | 2018-06-01 | Good | WASTE2 | E1006 | mm |  | 1345 |  | 24 hrs or in alarm
16070 | 2018-06-01 | Poor | WASTE2 | E21016 | mm | Issues with Loss of Echo | 635 |  | 24 hrs or in alarm
16072 | 2018-06-01 | Poor | WASTE2 | E5134 | mm | Installation error with scaling. To be fixed on 26th Sept 19. | 632 |  | 24 hrs or in alarm
16073 | 2018-06-01 | Good | WASTE2 | E5105 | mm |  | 310 |  | 24 hrs or in alarm
16077 | 2018-06-01 | Poor | WASTE2 | E5065 | mm |  | 1370 |  | 24 hrs or in alarm
16078 | 2018-06-01 | Poor | WASTE2 | E5088 | mm |  | 510 |  | 24 hrs or in alarm
16081 | 2018-06-01 | Good | WASTE2 | E5066 | mm |  | 500 |  | 24 hrs or in alarm
16083 | 2018-06-01 | Poor | WASTE | E9606 | mm |  | 1560 |  | 24 hrs or in alarm
16084 | 2018-06-01 | Good | WASTE2 | E5115 | mm |  | 285 |  | 24 hrs or in alarm
16088 | 2018-06-01 | Good | WASTE2 | E5067 | mm |  | 1110 |  | 24 hrs or in alarm
16089 | 2018-06-01 | Poor | WASTE2 | E20046 | mm |  | 960 |  | 24 hrs or in alarm
16090 | 2018-06-01 | Good | WASTE2 | E1166 | mm |  | 1890 |  | 24 hrs or in alarm
16091 | 2018-06-01 | Good | WASTE | E32258 | % |  | n/a | 63 | 24 hrs or in alarm
16092 | 2018-06-01 | Good | WASTE2 | E1176 | mm |  | 470 |  | 24 hrs or in alarm
16093 | 2018-06-01 | Good | WASTE2 | E5012 | mm |  | 960 |  | 24 hrs or in alarm
16095 | 2018-06-01 | Good | WASTE2 | E5011 | mm |  | 145 |  | 24 hrs or in alarm
16096 | 2018-06-01 | Good | WASTE2 | E5192 | mm | Installation error with scaling. Due to be fixed on 22nd July 19. | 460 |  | 24 hrs or in alarm
16098 | 2018-10-01 | Good | WASTE2 | E5373 | mm |  | 1065 |  | 24 hrs or in alarm
16099 | 2019-03-01 | Poor | WASTE2 | E5168 | mm |  | 1230 |  | 24 hrs or in alarm
16110 | 2018-07-01 | Good | WASTE2 | E5189 | mm |  | 750 |  | 24 hrs or in alarm
16112 | 2018-11-01 | Good | WASTE2 | E5183 | mm |  | 420 |  | 24 hrs or in alarm
16115 | 2018-12-01 | Good | WASTE2 | E5174 | mm | Manhole is in a parking space. There have been communications before (probably because a car was parked on top). | 1600 |  | 24 hrs or in alarm
16117 | 2018-06-01 | Good | WASTE2 | E5158 | mm |  | 1095 |  | 24 hrs or in alarm
16119 | 2018-06-01 | Good | WASTE2 | E5207 | mm |  | 90 |  | 24 hrs or in alarm
16122 | 2018-06-01 | Good | WASTE2 | E5172 | mm |  | 100 |  | 24 hrs or in alarm
16123 | 2018-07-01 | Poor | WASTE2 | E5173 | mm | Pressure transducer device not ultrasonic | 100 |  | 24 hrs or in alarm
16125 | 2018-06-01 | Good | WASTE2 | E5167 | mm |  | 150 |  | 24 hrs or in alarm
16753 | 2018-06-01 | Poor | WASTE2 | E1396 | mm |  | 2175 |  | 24 hrs or in alarm
16755 | 2019-01-01 | Good | WASTE2 | E5254 | mm |  | 245 |  | 24 hrs or in alarm
16757 | 2018-06-01 | Good | WASTE2 | E1406 | mm |  | 410 |  | 24 hrs or in alarm
16758 | 2018-09-01 | Good | WASTE2 | E5293 | mm |  | 1895 |  | 24 hrs or in alarm
16759 | 2018-06-01 | Poor | WASTE2 | E1416 | mm |  | 350 |  | 24 hrs or in alarm
16760 | 2018-06-01 | Poor | WASTE2 | E5203 | mm | Lost comms on 6th June; waiting for R&M to schedule works. | 340 |  | 24 hrs or in alarm
16762 | 2018-06-01 | Good | WASTE2 | E5093 | mm |  | 200 |  | 24 hrs or in alarm
16772 | 2010-10-01 | Poor | WASTE2 | E5252 | mm |  | 360 |  | 24 hrs or in alarm
16788 | 2018-10-01 | Good | WASTE2 | E5364 | mm |  | 325 |  | 24 hrs or in alarm
16789 | 2018-06-01 | Good | WASTE | E27256 | mm |  | 650 |  | 24 hrs or in alarm
16790 | 2018-06-01 | Good | WASTE2 | E21296 | mm | Settings changed (on 21st March 19?). | 590 |  | 24 hrs or in alarm
17166 | 2018-06-01 | Good | WASTE2 | E1476 | mm | Visit to check/alter spill height on 6th June 19 | 190 |  | 24 hrs or in alarm
17172 | 2018-06-01 | Good | WASTE2 | E1486 | mm |  | 1270 |  | 24 hrs or in alarm
17510 | 2018-06-01 | Good | WASTE2 | E5135 | mm | Installation error with scaling. To be fixed on 3rd June 19 | 1095 |  | 24 hrs or in alarm
17511 | 2018-06-01 | Good | WASTE | E23982 | mm |  | 437 |  | 24 hrs or in alarm
17513 | 2018-06-01 | Good | WASTE | E20642 | mm |  | TBC |  | 24 hrs or in alarm
17514 | 2018-06-01 | Good | WASTE2 | E1496 | mm |  | 300 |  | 24 hrs or in alarm
17515 | 2018-08-01 | Good | WASTE2 | E5177 | mm |  | 355 |  | 24 hrs or in alarm
17517 | 2018-06-01 | Good | WASTE | E23608 | % |  | n/a | 60 | 5-15 mins
17524 | 2018-08-01 | Good | WASTE2 | E5182 | mm |  | 900 |  | 24 hrs or in alarm
17526 | 2018-07-01 | Good | WASTE2 | E5185 | mm |  | 220 |  | 24 hrs or in alarm
17531 | 2018-12-01 | Good | WASTE2 | E5255 | mm |  | 1705 |  | 24 hrs or in alarm
17532 | 2018-06-01 | Good | WASTE | E23472 | mm |  | 1282 |  | 24 hrs or in alarm
17533 | 2018-12-01 | Good | WASTE2 | E5179 | mm |  | 670 |  | 24 hrs or in alarm
17534 | 2018-06-01 | Good | WASTE2 | E1506 | mm |  | 710 |  | 24 hrs or in alarm
17536 | 2018-06-01 | Good | WASTE2 | E1516 | mm |  | 570 |  | 24 hrs or in alarm
17537 | 2018-06-01 | Poor | WASTE2 | E5104 | mm |  | 890 |  | 24 hrs or in alarm
17538 | 2018-06-01 | Ok | WASTE2 | E5108 | mm | Comms fault/missing data in May 19 | 480 |  | 24 hrs or in alarm
17541 | 2018-06-01 | Good | WASTE2 | E1526 | mm |  | 870 |  | 24 hrs or in alarm
17542 | 2018-06-01 | Good | WASTE2 | E5123 | mm |  | 1350 |  | 24 hrs or in alarm
17543 | 2018-10-01 | Poor | WASTE2 | E5253 | mm |  | 1460 |  | 24 hrs or in alarm
17589 | 2018-08-01 | Good | WASTE2 | E5180 | mm |  | 195 |  | 24 hrs or in alarm
19538 | 2018-06-01 | Good | WASTE2 | E1546 | mm |  | 430 |  | 24 hrs or in alarm
19703 | 2018-06-01 | Poor | WASTE2 | E1556 | mm |  | 150 |  | 24 hrs or in alarm
19704 | 2018-06-01 | Good | WASTE2 | E5163 | mm |  | 1310 |  | 24 hrs or in alarm

## SPS Signals
Site ID | Site Name | Pump number | Run/Stop B Value | Data Transmission Frequency | Data Recording Frequency
14002 | Bath Twerton | 1 | B63729 | 5-15 mins | Change of status
14002 | Bath Twerton | 2 | B63730 | 5-15 mins | Change of status
14002 | Bath Twerton | 3 | B63731 | 5-15 mins | Change of status
14002 | Bath Twerton | 4 | B63732 | 5-15 mins | Change of status
15533 | Monkton Combe Mill Lane SPS | 1 | B109639 | 24 hrs | Change of status
15533 | Monkton Combe Mill Lane SPS | 2 | B109640 | 24 hrs | Change of status
15533 | Monkton Combe Mill Lane FTS | 1 | B109641 | 24 hrs | Change of status
15533 | Monkton Combe Mill Lane FTS | 2 | B109642 | 24 hrs | Change of status
14428 | Corston Newton St Loe SPS | 1 | B11361 | 24 hrs | Change of status
14428 | Corston Newton St Loe SPS | 2 | B11362 | 24 hrs | Change of status
14531 | Midford Tucking Mill SPS | 1 | B76672 | 24 hrs | Change of status
14531 | Midford Tucking Mill SPS | 2 | B76673 | 24 hrs | Change of status
15524 | Batheaston Elmhurst SPS | 1 | B65060 | 24 hrs | Change of status
15524 | Batheaston Elmhurst SPS | 2 | B65061 | 24 hrs | Change of status
14624 | Saltford Mead Lane SPS | 1 | B96984 | 24 hrs | Change of status
14624 | Slatford Mead Lane SPS | 2 | B96985 | 24 hrs | Change of status
16050 | Bath EA Depot CSO | 1 | B80054 | 24 hrs | Change of status
16050 | Bath EA Depot CSO | 2 | B80055 | 24 hrs | Change of status
16057 | Bath Technology House CSO | 1 | B87820 | 24 hrs | Change of status
16057 | Bath Technology House CSO | 2 | B87821 | 24 hrs | Change of status